{"text_format":"1","workbook":"xlsx","n_sheets":2,"sheets":["Matrix","Testdaten"],"not_rendered":{"charts":0,"images":4,"macros":1,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Matrix","index":0,"n_rows":25,"n_cols":15,"rows_kept":25,"cut":false,"hidden":false,"merged":[]}
[]
[]
[]
["Komponente","Flächen Eingabe\nFlᵢ","Sollwerte Kalgas\ncᵢ(Soll)","Grund- kalibrierung GLKᵢ","letzte Kalibrierung LKᵢ","Response Faktor\nRFᵢ","Korrektur Polynom Koeffizient Aᵢ","Korrektur Polynom Koeffizient Bᵢ","Korrektur Polynom Koeffizient Cᵢ","Korrektur Polynom Koeffizient Dᵢ","Berechnete Anteile unnormiert\nc₁ᵢ","Faktor","Berechnete Anteile normiert\nc₂ᵢ","Korrektur für Anteile\nc₃ᵢ","Korrigierte Anteile (Endergebnis)\nc₄ᵢ"]
["Stickstoff",15758.580428571428,4.0221999999999998,6.540498894176592E-5,6.540498894176592E-5,1,0,5.5900000000000004E-3,-2.8999999999999998E-3,9.1799999999999995E-5,1.0306897786686431,{"$f":"IFERROR(100/K25,0)","v":1.0048120807947929},{"$f":"$K5*$L$5","v":1.0356495411579638},-2.7813377526984527E-3,{"$f":"$M5+$N5","v":1.0328682034052654}]
["Methan",1314911.125,89.02,6.0514179703000876E-5,6.0514179703000876E-5,1,null,null,null,null,79.570768111725044,null,{"$f":"$K6*$L$5","v":79.95366907678239},-1.4496871515971412,{"$f":"$M6+$N6","v":78.503981925185244}]
["Kohlendioxid",null,2.4767000000000001,4.2105671788623581E-5,4.2105671788623581E-5,1,null,null,null,null,0,null,0,0,0]
["Ethan",null,2.4805999999999999,3.8826481807159698E-5,3.8826481807159698E-5,1,null,null,null,null,0,null,0,0,0]
["Propan",290362.97328571428,0.99780000000000002,3.0969794190362625E-5,3.0969794190362625E-5,1,null,null,null,null,8.9924815231603326,null,9.0357540707954627,0,9.0357540707954627]
["iso-Butan",25739.599142857147,0.2014,2.7499682197068948E-5,2.7499682197068948E-5,1,null,null,null,null,0.70783079630851986,null,0.71123693528939902,0,0.71123693528939902]
["n-Butan",27303.935000000005,0.20039999999999999,2.5605210116321362E-5,2.5605210116321362E-5,1,null,null,null,null,0.69912299267738098,null,0.70248722900364191,0,0.70248722900364191]
["neo-Pentan",null,null,0,0,null,null,null,null,null,0,null,0,0,0]
["iso-Pentan",null,null,0,0,null,null,null,null,null,0,null,0,0,0]
["n-Pentan",null,null,0,0,null,null,null,null,null,0,null,0,0,0]
["C6+",null,null,0,0,null,null,null,null,null,0,null,0,0,0]
["n-Hexan",null,null,0,0,null,null,null,null,null,0,null,0,0,0]
["n-Heptan",null,null,0,0,null,null,null,null,null,0,null,0,0,0]
["n-Octan",null,null,0,0,null,null,null,null,null,0,null,0,0,0]
["n-Nonan",null,null,0,0,null,null,null,null,null,0,null,0,0,0]
["Sauerstoff",72623.468857142856,0.40160000000000001,6.935264589398021E-5,6.935264589398021E-5,1,null,null,null,null,5.0366297192419278,null,5.0608663883843752,0,5.0608663883843752]
["Helium",null,null,0,0,null,null,null,null,null,0,null,0,0,0]
["Wasserstoff",898.85485714285721,0.1993,3.8755684454111834E-3,3.8755684454111834E-3,1,0,-1.5800000000000002E-2,-3.1199999999999999E-2,-2.41E-2,3.4835735213474344,null,3.5003367585867595,1.4524684893498396,4.9528052479365989]
["Argon",null,null,0,0,null,null,null,null,null,0,null,0,0,0]
["Reserve",null,null,0,0,null,null,null,null,null,0,null,0,0,0]
["Summe",null,{"$f":" SUM(C5:C24)","v":99.999999999999986},null,null,null,null,null,null,null,{"$f":"SUM(K5:K24)","v":99.521096443129281},null,{"$f":"SUM(M5:M24)","v":99.999999999999972},null,{"$f":"SUM(O5:O24)","v":99.999999999999972}]

{"sheet":"Testdaten","index":1,"n_rows":65,"n_cols":16,"rows_kept":65,"cut":false,"hidden":false,"merged":[]}
["Soll 9m","Ist 9M","Ist Methan","Ist B5K","Ist 6L","Ist 6L","Ist6h","p19k","vsl1","vsl2"]
[4.0221999999999998,61496.837857142847,1664346.9464285714,30509.554,212602.44200000001,6610.5528571428576,6610.5528571428576,47317.778999999995,296412.11614285718,15758.580428571428]
[89.02,1471060.1785714286,null,1469308.107142857,1325820.8214285714,1412091.5357142857,1412091.5357142857,1445018.6607142857,1184091.625,1314911.125]
[2.4767000000000001,58821.054142857138,null,129702.55385714288,23971.231285714286,43588.098857142861,43588.098857142861,85814.193142857155]
[2.4805999999999999,63889.383857142864,null,null,76155.299142857155,245011.18314285713,245011.18314285713,9136.8985714285718]
[0.99780000000000002,32218.489857142857,null,null,15872.392285714286,111334.9252857143,111334.9252857143,153880.29471428573,null,290362.97328571428]
[0.2014,7323.7209999999995,null,null,null,null,null,10984.914000000001,143681.48442857145,25739.599142857147]
[0.20039999999999999,7826.5321428571424,null,null,3797.3434285714284,38701.407857142854,38701.407857142854,11645.138571428572,153729.46885714287,27303.935000000005]
[]
[]
[]
[]
[]
[]
[]
[]
[0.40160000000000001,5790.6947142857143,null,14453.052,null,null,null,4398.8998571428574,null,72623.468857142856]
[]
[0.1993,51.424714285714288,null,439.64385714285714,null,null,null,75.158000000000001,null,898.85485714285721]
[]
[]
[]
[]
[]
[]
[]
[]
[]
["Gas","Methan","B-5K","6L","6H","L1-8K","P1-9K","9M","11M","11D","H1-11K","VSL 1","VSL 2",null,"VSL1 normiert"]
["Flasche","unbekannt","3850F","0550D","2930B","---","1295C","D844356","---","---","---",7800740,7800063]
["Methan",100,89.484700000000004,81.052199999999999,83.974199999999996,0,87.034800000000004,89.02,0,0,0,72.03,78.67,null,{"$f":"L31*100/$L$51","v":72.055940138449841},{"$f":"M31*100/$M$51","v":78.673146925877035}]
["Ethan",0,0,2.9998999999999998,9.4067000000000007,0,0.34920000000000001,2.4805999999999999,0,0,0,0,0,null,{"$f":"L32*100/$L$51","v":0},{"$f":"M32*100/$M$51","v":0}]
["Propan",0,0,0.49840000000000001,3.3954,0,4.7438000000000002,0.99780000000000002,0,0,0,0,8.9700000000000006,null,0,8.9703588143525756]
["iso-Butan",0,0,0,0,0,0.29970000000000002,0.2014,0,0,0,4.0289999999999999,0.70299999999999996,null,4.0304509623464444,0.70302812112484503]
["n-Butan",0,0,9.98E-2,1.0011000000000001,0,0.29909999999999998,0.20039999999999999,0,0,0,3.9950000000000001,0.69599999999999995,null,3.996438717938458,0.69602784111364457]
["neo-Pentan",0,0,0,0,0,0,0,0,0,0,0,0,null,0,0]
["iso-Pentan",0,0,0,0,0,0,0,0,0,0,0,0,null,0,0]
["n-Pentan",0,0,0,0,0,0,0,0,0,0,0,0,null,0,0]
["n-Hexan",0,0,0,0,0,0,0,0,0,0,0,0,null,0,0]
["Wasserstoff",0,1.9616,0,0,0,0.29770000000000002,0.1993,0,0,0,0,4.97,null,0,4.9701988079523183]
["Sauerstoff",0,1.0184,0,0,0,0.3014,0.40160000000000001,0,0,0,0,4.97,null,0,4.9701988079523183]
["Stickstoff",0,2.0274999999999999,14.329599999999999,0.42209999999999998,0,3.0849000000000002,4.0221999999999998,0,0,0,19.91,1.0169999999999999,null,19.917170181265256,1.017040681627265]
["Kohlendioxid",0,5.5077999999999996,1.0201,1.8005,0,3.5893999999999999,2.4767000000000001,0,0,0,0,0,null,0,0]
["Helium",0,0,0,0,0,0,0,0,0,0,0,0,null,0,0]
["",0,0,0,0,0,0,0,0,0,0,0,0,null,0,0]
["",0,0,0,0,0,0,0,0,0,0,0,0,null,0,0]
["",0,0,0,0,0,0,0,0,0,0,0,0,null,0,0]
["",0,0,0,0,0,0,0,0,0,0,0,0,null,0,0]
["",0,0,0,0,0,0,0,0,0,0,0,0,null,0,0]
["",0,0,0,0,0,0,0,0,0,0,0,0,null,0,0]
["Summe",100,100.00000000000001,100,99.999999999999986,0,100.00000000000001,99.999999999999986,0,0,0,99.963999999999999,99.995999999999995,null,{"$f":"SUM(O31:O50)","v":100},100.00000000000001]
["Methan",1664346.9464285714,1469308.107142857,1325820.8214285714,1412091.5357142857,null,1445018.6607142857,1471060.1785714286,null,null,null,1184091.625,1314911.125]
["Ethan",null,null,76155.299142857155,245011.18314285713,null,9136.8985714285718,63889.383857142864]
["Propan",null,null,15872.392285714286,111334.9252857143,null,153880.29471428573,32218.489857142857,null,null,null,null,290362.97328571428]
["iso-Butan",null,null,null,null,null,10984.914000000001,7323.7209999999995,null,null,null,143681.48442857145,25739.599142857147]
["n-Butan",null,null,3797.3434285714284,38701.407857142854,null,11645.138571428572,7826.5321428571424,null,null,null,153729.46885714287,27303.935000000005]
["neo-Pentan"]
["iso-Pentan"]
["n-Pentan"]
["n-Hexan"]
["Wasserstoff",null,439.64385714285714,null,null,null,75.158000000000001,51.424714285714288,null,null,null,null,898.85485714285721]
["Sauerstoff",null,14453.052,null,null,null,4398.8998571428574,5790.6947142857143,null,null,null,null,72623.468857142856]
["Stickstoff",null,30509.554,212602.44200000001,6610.5528571428576,null,47317.778999999995,61496.837857142847,null,null,null,296412.11614285718,15758.580428571428]
["Kohlendioxid",null,129702.55385714288,23971.231285714286,43588.098857142861,null,85814.193142857155,58821.054142857138]
["Helium"]